## OPERATOR DATA
OPERATOR DATA Daily 4/1/2025 - 4/30/2025 | Plnt Ef 50050 FLOW MGD MGD Daily | Max Effluent Flow 50047 FLOW MAX MGD MGD Daily | Min Effluent Flow 50048 FLOW MIN MGD MGD Daily | Bypass 50050 FLOW MGD MGD Daily | Bypass DIVERSION/HRS HRS/DAY Daily | East Shore Q Flow Mgd MGD Daily | Blvd Flow FLOW MGD MGD Daily | East Street Flow FLOW MGD MGD Daily | Morris Cove Q Flow Mgd MGD Daily | Septage Gallons 00056 FLOW GPD GPD Daily | Septage NON_DOM GPD Daily | Odor Hypo In. NaOCl Inlet Works IN/D Daily | Odor Caustic In. NaOH Inlet Works IN/D Daily | Pri Sludge Total Q Flow Gpd GPD | Aeration 1 AIRFLO AIR FLOW SCFM Daily | Aeration 2 AIRFLO AIR FLOW SCFM Daily | Aeration 3 AIRFLO AIR FLOW SCFM Daily | Aeration 4 AIRFLO AIR FLOW SCFM Daily | RAS S 50050 FLOW MGD MGD Daily | RAS N 50050 FLOW MGD MGD Daily | WAS S 50050 FLOW MGD MGD Daily | WAS N 50050 FLOW MGD MGD Daily | Sludge Thk 1 ES Sludge Xfer GPD | Clarifier #1 DOB DEPTH OF BLANKET FT Daily | Clarifier #2 DOB DEPTH OF BLANKET FT Daily | Clarifier #3 DOB DEPTH OF BLANKET FT Daily | Clarifier #4 DOB DEPTH OF BLANKET FT Daily | Clarifier #5 DOB DEPTH OF BLANKET FT Daily | Clarifier #6 DOB DEPTH OF BLANKET FT Daily | Clarifier #7 DOB DEPTH OF BLANKET FT Daily | Clarifier #8 DOB DEPTH OF BLANKET FT Daily | Effluent Hypo In. NaOCl Hypo Inches Used/D IN/D Daily | South Grav 1 DOB DEPTH OF BLANKET FT Daily | Sludge Tank In. 72109 TANK LEVEL FT Daily | AQUA BELT Polymer Used POLYMER 1 USED IN/D Daily | TPS Flow 00056 FLOW GPD GPD None | TWAS Flow 00056 FLOW GPD GPD Daily | Wet Cake Tons 70321 WET CAKE WEIGHT TONS/DAY Daily | Haulers Trucks # of Trucks/D NUM Daily | UTIL. 1709 Kilowatt Daily | New Haven UTIL. 1709 Totalizer Kilowatt | UTIL. 1710 Kilowatt Daily | New Haven UTIL. 1710 Totalizer Kilowatt | UTIL. TOTAL ELECT Kilowatt Daily | UTIL. Sub 1 Total Kilowatt | UTIL. Sub 2 Total Kilowatt | UTIL. Sub 3 Total Kilowatt | UTIL. Sub 6 Total Kilowatt | UTIL. 134 BLWR 1 KW Daily | UTIL. 135 BLWR 2 KW Daily | UTIL. 136 BLWR 3 KW Daily | UTIL. 137 BLWR 4 KW Daily | UTIL. 138 BLWR 5 KW Daily | New Haven UTIL. WATER 1 READING | UTIL. 139 WATER 1 ccf Daily | New Haven UTIL. WATER 2 READING | UTIL. 140 WATER 2 ccf Daily | New Haven UTIL. WATER 3 READING | UTIL. 141 WATER 3 ccf Daily | New Haven UTIL. WATER 4 READING | UTIL. 142 WATER 4 cf Daily | UTIL. 143 GAS CORR. MCF Daily | UTIL. 144 GAS- UNCORR Ccf Daily | UTIL. 145 BOILER GAS CCF Daily | UTIL. 161 MAINT. BOILER GAS CF Daily | UTIL. 146 OIL - N GAL Daily | UTIL. ES Generator 1 Hours | UTIL. ES Generator 2 Hours | UTIL. ES Gen 1 Fuel Gallons | UTIL. ES Gen 2 Fuel Gallons | Weather 00021 AIR TEMP deg F Degrees F Daily | Weather PRECIP TOT DAY Inches/Day Daily | UTIL. 148 Incinerator KILOWATT Daily | UTIL. 149 Syn. Press KILOWATT Daily | UTIL. 150 ID Fan KILOWATT Daily | New Haven Primary Clr Pro PRI SLG Q GPD | New Haven P Clr Pr Flow Gpd GPD | New Haven P Clr Pr Flow Gpd GPD | New Haven AERATION Desired MCRT Days
4/1/2025 | 36.8 | 79.5 | 21 | 0.44 | 1.02 | 14.3 | 8.8 | 11 | 5.1 | 22000 | 0 | 3.71 | 0.13 | 1707134 | 4429 | 5456 | 5620 | 4899 | 8.1 | 8.1 | 0.15 | 0.24 | 212187 | 8 | 7 | 7 | 7 | 5 | 4 | 6 | 6 | 16.58 | 2.07 | 20.8 | 7 | 179064 | 71518 | 180.98 |  | 0 | 267 | 50.4 | 37291 | 480 | 46170898 |  | 10536092 |  | 11.05 | 0 | 1.43 | 0 | 7.22 | 254197 | 274 | 134915 | 1 | 2030317 | 1081 | 2 | 0 | 47 | 100 | 310 | 5377 | 0 | 76.8 | 76.6 | 1983.7 | 1871.8 |  | 0 | 1332 |  | 2194 |  | 1707134 | 1707134 | 15
4/2/2025 | 31 | 36 | 19 | 0 | 0 | 13.4 | 8 | 9.6 | 4.8 | 9900 | 0 | 3.99 | 0.28 | 1713037 | 4203 | 5099 | 5513 | 5076 | 7.9 | 7.9 | 0.15 | 0.24 | 235177 | 6 | 6 | 7 | 6 | 4 | 3 | 5 | 5 | 17.62 | 1.93 | 23.5 | 6 | 118133 | 59304 | 189.76 |  | 0 | 267 | 54.6 | 37304 | 520 | 46170898 |  | 10536092 |  | 1.1 | 1.99 | 2.94 | 0 | 11.72 | 254470 | 273 | 134915 | 0 | 2031708 | 1391 | 2 | 0 | 47 | 99 | 306 | 5876 | 0 | 76.8 | 76.6 | 1983.7 | 1871.8 |  | 0 | 1233 |  | 2040 |  | 1713037 | 1713037 | 15
4/3/2025 | 33.1 | 40.3 | 18.1 | 0 | 0 | 13.5 | 8.3 | 10.4 | 4.8 | 11500 | 0 | 5.15 | 0.09 | 1717739 | 4416 | 5452 | 5309 | 5142 | 8.4 | 8.4 | 0.15 | 0.24 | 241947 | 7 | 6 | 7 | 7 | 5 | 4 | 5 | 7 | 17.81 | 1.57 | 24.7 | 7.5 | 133001 | 61862 | 181.79 |  | 0 | 267 | 50.4 | 37316 | 480 | 46170898 |  | 10536092 |  | 3.65 | 0.83 | 3.63 | 0 | 11.23 | 254742 | 272 | 134915 | 0 | 2032300 | 592 | 2 | 0 | 36 | 77 | 228 | 4808 | 0 | 76.8 | 76.6 | 1983.7 | 1871.8 |  | 0 | 1176 |  | 2097 |  | 1717739 | 1717739 | 15
4/4/2025 | 30.8 | 37.8 | 18.1 | 0 | 0 | 12.9 | 7.7 | 9.7 | 4.6 | 0 | 0 | 4.31 | 0.21 | 1727145 | 4324 | 5296 | 5280 | 4824 | 8 | 7.9 | 0.15 | 0.24 | 189622 | 5 | 6 | 7 | 7 | 3 | 3 | 5 | 5 | 16.29 | 1.37 | 23.3 | 6 | 120502 | 53840 | 181.73 |  | 0 | 267 | 50.4 | 37328 | 480 | 46170898 |  | 10536092 |  | 2.23 | 5.74 | 0 | 0 | 10.68 | 255003 | 261 | 134915 | 0 | 2032830 | 530 | 2 | 0 | 32 | 67 | 199 | 4169 | 0 | 76.8 | 76.6 | 1983.7 | 1871.8 |  | 0 | 1196 |  | 2267 |  | 1727145 | 1727145 | 15
4/5/2025 | 32 | 52.2 | 16.1 | 0 | 0 | 13.3 | 7.6 | 9.9 | 4.6 | 0 | 0 | 4.73 | 0.15 | 1726766 | 3905 | 4817 | 4773 | 4694 | 8.5 | 8.5 | 0.15 | 0.24 | 196967 | 5 | 5 | 6 | 6 | 3 | 3 | 3 | 5 | 16.02 | 1.67 | 20.7 | 8 | 132186 | 60644 | 182.54 |  | 0 | 267 | 50.4 | 37340 | 480 | 46170898 |  | 10536092 |  | 8.83 | 3.2 | 1.09 | 0 | 4.43 | 255272 | 269 | 134915 | 0 | 2033150 | 320 | 2 | 0 | 45 | 96 | 288 | 5049 | 0 | 76.8 | 76.6 | 1983.7 | 1871.8 |  | 0 | 1250 |  | 2491 |  | 1726766 | 1726766 | 15
4/6/2025 | 37.8 | 92.5 | 27.5 | 0.98 | 1.29 | 15 | 10.4 | 9.8 | 5.1 | 0 | 0 | 3.27 | 0.11 | 1711518 | 3161 | 3898 | 3736 | 3466 | 8.5 | 8.5 | 0.15 | 0.24 | 205010 | 7 | 7 | 7 | 7 | 6 | 4 | 6 | 5 | 14.48 | 1.5 | 18.2 | 8.5 | 166068 | 49909 | 178.83 |  | 0 | 267 | 54.6 | 37353 | 520 | 46170898 |  | 10603201 |  | 2.68 | 3.31 | 0.26 | 0 | 9.97 | 255551 | 279 | 134915 | 0 | 2033486 | 336 | 2 | 0 | 43 | 92 | 278 | 5146 | 0 | 76.8 | 76.6 | 1983.7 | 1871.8 |  | 0.2 | 1284 |  | 2356 |  | 1711518 | 1711518 | 15
4/7/2025 | 36.9 | 48.3 | 21.7 | 0 | 0 | 14.2 | 8.5 | 11.2 | 5.1 | 9600 | 0 | 3.95 | 0.37 | 1722993 | 4059 | 5098 | 4983 | 4852 | 9.3 | 9.3 | 0.15 | 0.24 | 215290 | 10 | 10 | 10 | 11 | 7 | 6 | 8 | 8 | 17.7 | 1.47 | 18 | 4 | 142570 | 60211 | 175.46 |  | 0 | 267 | 50.4 | 37365 | 480 | 46170898 |  | 10603201 |  | 0 | 6.92 | 1.19 | 0 | 10.32 | 255810 | 259 | 134918 | 3 | 2034127 | 641 | 2 | 0 | 45 | 97 | 315 | 3431 | 0 | 76.8 | 76.6 | 1983.7 | 1871.8 |  | 0 | 1296 |  | 2265 |  | 1722993 | 1722993 | 15
4/8/2025 | 32.6 | 40.8 | 18 | 0 | 0 | 14.1 | 7.9 | 10.2 | 5 | 21700 | 0 | 3.26 | 0.05 | 1719001 | 3847 | 4703 | 4721 | 4503 | 8.4 | 8.4 | 0.15 | 0.24 | 184892 | 7 | 8 | 10 | 10 | 6 | 5 | 7 | 7 | 17.54 | 1.3 | 18.7 | 5.5 | 138197 | 60800 | 179.62 |  | 0 | 267 | 54.6 | 37378 | 520 | 48170898 |  | 10603201 |  | 4.38 | 1.65 | 1.04 | 0 | 12.91 | 256077 | 267 | 134920 | 2 | 2034752 | 625 | 2 | 0 | 53 | 112 | 350 | 5838 | 0 | 76.8 | 76.8 | 1983.7 | 1871.8 |  | 0 | 1068 |  | 2100 |  | 1719001 | 1719001 | 15
4/9/2025 | 31.1 | 39.1 | 17.2 | 0 | 0 | 13.2 | 7.6 | 9.9 | 4.8 | 9600 | 0 | 3.8 | 0.13 | 1724717 | 3360 | 4198 | 4389 | 4106 | 8 | 8 | 0.15 | 0.23 | 202210 | 8 | 8 | 8 | 9 | 5 | 4 | 6 | 6 | 17.35 | 1.8 | 19.2 | 6.5 | 118539 | 63301 | 187.63 |  | 0 | 267 | 50.4 | 37390 | 480 | 46170898 |  | 10603201 |  | 4.87 | 0 | 0 | 0 | 10.54 | 256340 | 263 | 134922 | 2 | 2035414 | 662 | 2 | 0 | 50 | 107 | 328 | 5808 | 0 | 76.8 | 76.8 | 1983.7 | 1871.8 |  | 0 | 1196 |  | 1990 |  | 1724717 | 1724717 | 15
4/10/2025 | 31.2 | 39.7 | 16.9 | 0 | 0 | 13.3 | 7.7 | 9.8 | 4.8 | 6400 | 0 | 4.49 | 0.16 | 1720553 | 3678 | 4750 | 4706 | 4507 | 8.1 | 8.1 | 0.16 | 0.23 | 180947 | 8 | 8 | 9 | 9 | 4 | 2 | 6 | 7 | 16.75 | 1.7 | 19.7 | 7 | 127202 | 63132 | 162.07 |  | 0 | 267 | 54.6 | 37403 | 520 | 46170898 |  | 10603201 |  | 4.49 | 2.23 | 0 | 0 | 11.09 | 256608 | 268 | 134923 | 1 | 2036210 | 796 | 2 | 0 | 48 | 102 | 308 | 5812 | 0 | 76.8 | 76.8 | 1983.7 | 1871.8 |  | 0 | 1288 |  | 1994 |  | 1720553 | 1720553 | 15
4/11/2025 | 31.6 | 44.2 | 17 | 0 | 0 | 13.3 | 7.8 | 9.8 | 4.7 | 12400 | 0 | 2.26 | 0.16 | 1717320 | 3847 | 4840 | 5133 | 4676 | 8.2 | 8.2 | 0.17 | 0.23 | 175783 | 7 | 9 | 9 | 9 | 5 | 3 | 5 | 6 | 16.47 | 1.4 | 19.7 | 7 | 124843 | 63886 | 173.98 |  | 0 | 267 | 50.4 | 37415 | 480 | 46170898 |  | 10603201 |  | 8 | 0.01 | 0.24 | 0 | 10.56 | 256866 | 258 | 134924 | 1 | 2036605 | 395 | 2 | 0 | 46 | 98 | 298 | 5805 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1148 |  | 2335 |  | 1717320 | 1717320 | 15
4/12/2025 | 41.2 | 62.3 | 28.8 | 0 | 0 | 15.7 | 10.7 | 11.6 | 5.4 | 2500 | 0 | 2.36 | 0.16 | 1708124 | 3187 | 4157 | 4071 | 3743 | 9.4 | 9.3 | 0.17 | 0.22 | 296519 | 8 | 9 | 9 | 9 | 7 | 5 | 6 | 5 | 17.71 | 2.1 | 20.8 | 7.5 | 189552 | 65881 | 174.22 |  | 0 | 267 | 54.6 | 37428 | 520 | 46170898 |  | 10603201 |  | 10.52 | 2.46 | 0 | 0 | 2.57 | 257131 | 265 | 134924 | 0 | 2036889 | 284 | 2 | 0 | 50 | 108 | 326 | 6045 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1306 |  | 2509 |  | 1708124 | 1708124 | 15
4/13/2025 | 36.1 | 41.9 | 31.7 | 0 | 0 | 14.6 | 9.1 | 10.3 | 5.5 | 0 | 0 | 2.18 | 0.17 | 1719779 | 3203 | 4078 | 3900 | 3726 | 9 | 9 | 0.17 | 0.24 | 255332 | 8 | 7 | 9 | 9 | 6 | 6 | 6 | 6 | 18.13 | 1.4 | 21.5 | 6 | 164811 | 74516 | 166.77 |  | 0 | 267 | 50.4 | 37440 | 480 | 46170898 |  | 10603201 |  | 10.33 | 3.03 | 0 | 0 | 1.75 | 257410 | 279 | 134924 | 0 | 2037220 | 331 | 2 | 0 | 44 | 92 | 276 | 5156 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1378 |  | 2362 |  | 1719779 | 1719779 | 15
4/14/2025 | 32.4 | 41.4 | 19.3 | 0 | 0 | 13.9 | 7.8 | 10.1 | 5.3 | 9200 | 0 | 3.5 | 0.17 | 1717732 | 3740 | 4778 | 4947 | 4509 | 8.4 | 8.4 | 0.17 | 0.24 | 213956 | 7 | 7 | 8 | 8 | 6 | 5 | 7 | 7 | 18.88 | 1.2 | 19.7 | 8 | 123418 | 83242 | 175.72 |  | 0 | 267 | 54.6 | 37453 | 520 | 46170898 |  | 10603201 |  | 11.2 | 2.41 | 2.99 | 0 | 1.08 | 257673 | 263 | 134926 | 2 | 2037861 | 641 | 2 | 0 | 37 | 80 | 242 | 4163 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1350 |  | 2372 |  | 1717732 | 1717732 | 15
4/15/2025 | 37.3 | 105.6 | 27.2 | 0.61 | 0.6 | 11.7 | 9.6 | 11.7 | 5.4 | 15100 | 0 | 2.96 | 0.13 | 1706503 | 3659 | 4705 | 4854 | 4435 | 8.4 | 8.4 | 0.17 | 0.24 | 182441 | 7 | 7 | 8 | 8 | 5 | 5 | 7 | 7 | 18.32 | 1.7 | 19.2 | 7.5 | 139330 | 72277 | 181.17 |  | 0 | 267 | 54.6 | 37466 | 520 | 46170898 |  | 10603201 |  | 10.04 | 0.88 | 0 | 0 | 9.63 | 257933 | 260 | 134926 | 0 | 2038450 | 589 | 2 | 0 | 39 | 81 | 244 | 4329 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0.2 | 1275 |  | 2401 |  | 1706503 | 1706503 | 15
4/16/2025 | 32.4 | 36.7 | 22.5 | 0 | 0 | 10.1 | 7.8 | 10.1 | 5.1 | 21300 | 0 | 3.29 | 0.16 | 1726930 | 3700 | 4804 | 4848 | 4418 | 8.2 | 8.2 | 0.17 | 0.24 | 206142 | 7 | 8 | 8 | 7 | 7 | 4 | 7 | 6 | 17.14 | 1.1 | 19.8 | 9 | 120588 | 63861 | 180.79 |  | 0 | 267 | 50.4 | 37478 | 480 | 46170898 |  | 10603201 |  | 9.8 | 3.5 | 0 | 0 | 2.14 | 258193 | 260 | 134926 | 0 | 2038838 | 388 | 2 | 0 | 44 | 95 | 287 | 4285 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1325 |  | 2452 |  | 1726930 | 1726930 | 15
4/17/2025 | 32.1 | 39.8 | 18.4 | 0 | 0 | 13.4 | 11.9 | 9.7 | 5 | 16400 | 0 | 3.32 | 0.12 | 1721426 | 4176 | 5207 | 5731 | 4973 | 8.2 | 8.2 | 0.17 | 0.24 | 188877 | 8 | 7 | 8 | 8 | 5 | 4 | 6 | 6 | 18.58 | 1.7 | 19.7 | 7.5 | 136766 | 63828 | 187.28 |  | 0 | 267 | 54.6 | 37491 | 520 | 46439334 |  | 10603201 |  | 10.55 | 0 | 1.33 | 0 | 5.96 | 258424 | 231 | 134927 | 1 | 2039227 | 389 | 2 | 0 | 39 | 82 | 250 | 3890 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1304 |  | 2418 |  | 1721426 | 1721426 | 15
4/18/2025 | 29.9 | 36.7 | 17.7 | 0 | 0 | 13.3 | 7.4 | 9.3 | 4.9 | 0 | 0 | 5.56 | 0 | 1723450 | 4048 | 5139 | 5106 | 4775 | 7.8 | 7.8 | 0.17 | 0.2 | 150207 | 6 | 5 | 7 | 7 | 5 | 4 | 5 | 6 | 18.28 | 1.5 | 21.8 | 8.5 | 141244 | 57301 | 180.53 |  | 0 | 267 | 50.4 | 37503 | 480 | 46439334 |  | 10603201 |  | 11.4 | 3.83 | 1.1 | 0 | 0.56 | 258653 | 229 | 134927 | 0 | 2039577 | 350 | 2 | 0 | 34 | 73 | 220 | 3885 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1340 |  | 2278 |  | 1723450 | 1723450 | 15
4/19/2025 | 30.5 | 36.9 | 17.6 | 0 | 0 | 13.2 | 7.1 | 9.2 | 4.9 | 5000 | 0 | 3.53 | 0.29 | 1718785 | 3575 | 4443 | 4587 | 4247 | 8 | 8 | 0.17 | 0.21 | 212260 | 6 | 6 | 7 | 7 | 5 | 3 | 5 | 5 | 17.55 | 1 | 20.5 | 8 | 126715 | 67022 | 175.39 |  | 0 | 267 | 50.4 | 37515 | 480 | 46439334 |  | 10603201 |  | 10.35 | 6.64 | 0.09 | 0 | 0 | 258883 | 230 | 134927 | 0 | 2039875 | 298 | 2 | 0 | 28 | 59 | 170 | 3504 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1253 |  | 2262 |  | 1718785 | 1718785 | 15
4/20/2025 | 30.3 | 35.6 | 17.8 | 0 | 0 | 13.2 | 7.7 | 9.1 | 4.8 | 0 | 0 | 3.41 | 0.17 | 1723505 | 3528 | 4434 | 4180 | 4101 | 7.8 | 7.8 | 0.17 | 0.24 | 237669 | 5 | 5 | 8 | 7 | 5 | 2 | 5 | 5 | 18.85 | 1.73 | 20.3 | 9 | 205829 | 65768 | 173.18 |  | 0 | 267 | 50.4 | 37527 | 480 | 46439334 |  | 10603201 |  | 9.98 | 5.75 | 0 | 0 | 0 | 259121 | 238 | 134930 | 3 | 2040222 | 347 | 2 | 0 | 34 | 75 | 217 | 3597 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1332 |  | 2037 |  | 1723505 | 1723505 | 15
4/21/2025 | 30.3 | 35 | 17.5 | 0 | 0 | 14.2 | 7.6 | 9.3 | 4.7 | 4300 | 0 | 5.36 | 0.26 | 1718650 | 3913 | 5019 | 4759 | 4424 | 7.8 | 7.8 | 0.17 | 0.24 | 245921 | 8 | 8 | 11 | 10 | 3 | 5 | 7 | 6 | 16.84 | 0.44 | 20.3 | 9 | 183782 | 67756 | 188.52 |  | 0 | 267 | 50.4 | 37539 | 480 | 46439334 |  | 10603201 |  | 10.58 | 0.51 | 3.49 | 0 | 3.4 | 259417 | 296 | 134930 | 0 | 2040795 | 573 | 2 | 0 | 37 | 78 | 238 | 3862 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1244 |  | 1956 |  | 1718650 | 1718650 | 15
4/22/2025 | 32.1 | 37.6 | 19.3 | 0 | 0 | 15.4 | 8.2 | 10.2 | 4.6 | 9300 | 0 | 4.54 | 0.31 | 1715548 | 4311 | 5624 | 5823 | 5175 | 8.4 | 8.4 | 0.17 | 0.24 | 228778 | 8 | 7 | 10 | 10 | 3 | 3 | 7 | 7 | 20.63 | 0.81 | 23.2 | 10 | 158247 | 68112 | 180.36 |  | 0 | 267 | 58.8 | 37553 | 560 | 46439334 |  | 10603201 |  | 9.92 | 2.07 | 3.06 | 0 | 5.9 | 259656 | 239 | 134930 | 0 | 2041709 | 914 | 2 | 0 | 31 | 66 | 194 | 3810 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1233 |  | 2358 |  | 1715548 | 1715548 | 15
4/23/2025 | 29.6 | 35.3 | 17 | 0 | 0 | 14.3 | 7.2 | 9.7 | 4.4 | 6200 | 0 | 4.3 | 0.11 | 1709357 | 3651 | 4541 | 4663 | 4259 | 8.1 | 8.1 | 0.18 | 0.24 | 213976 | 8 | 8 | 10 | 10 | 5 | 3 | 6 | 6 | 16.03 | 0.3 | 23.3 | 8 | 130657 | 53351 | 182.8 |  | 0 | 267 | 46.2 | 37564 | 440 | 46439334 |  | 10603201 |  | 10.2 | 0 | 6.51 | 0 | 0.67 | 259871 | 215 | 134930 | 0 | 2042577 | 868 | 2 | 0 | 31 | 66 | 192 | 3411 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1289 |  | 2432 |  | 1709357 | 1709357 | 15
4/24/2025 | 29.3 | 34.7 | 16.7 | 0 | 0 | 16.4 | 7.3 | 9.5 | 4.5 | 7800 | 0 | 5.35 | 0.22 | 1716741 | 4031 | 5080 | 5564 | 4758 | 8.1 | 8.1 | 0.19 | 0.19 | 196842 | 8 | 8 | 11 | 10 | 4 | 3 | 6 | 6 | 18.67 | 1 | 23.7 | 10 | 155816 | 69120 | 178.33 |  | 0 | 267 | 50.4 | 37576 | 480 | 46439334 |  | 10603201 |  | 11.15 | 0.52 | 0.71 | 0 | 4.97 | 260093 | 222 | 134933 | 3 | 2043562 | 985 | 2 | 0 | 27 | 62 | 175 | 2850 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1244 |  | 2017 |  | 1716741 | 1716741 | 15
4/25/2025 | 29.6 | 37.8 | 16.8 | 0 | 0 | 15.9 | 7.8 | 9.2 | 4.4 | 2800 | 0 | 7.24 | 0.12 | 1710243 | 4140 | 5153 | 5565 | 4963 | 8.2 | 8.2 | 0.2 | 0.24 | 232767 | 9 | 9 | 10 | 8 | 4 | 4 | 5 | 5 | 18.29 | 0.43 | 24.5 | 10 | 132978 | 79408 | 166 |  | 0 | 267 | 54.6 | 37589 | 520 | 46439334 |  | 10603201 |  | 9.73 | 0 | 3.4 | 0 | 5.34 | 260283 | 190 | 134933 | 0 | 2043939 | 377 | 2 | 0 | 25 | 53 | 149 | 2741 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1065 |  | 1955 |  | 1710243 | 1710243 | 15
4/26/2025 | 45.2 | 119.5 | 18.1 | 5.3 | 4.14 | 15.3 | 13.3 | 15.3 | 5 | 5000 | 0 | 4.88 | 0.33 | 1633114 | 4713 | 4559 | 5118 | 5009 | 7.5 | 7.4 | 0.2 | 0.19 | 188634 | 12 | 13 | 12 | 13 | 8 | 7 | 12 | 12 | 24.99 | 2.27 | 22.5 | 11 | 156752 | 68030 | 209.15 |  | 0 | 267 | 46.2 | 37600 | 440 | 46439334 |  | 10603201 |  | 2.68 | 3.49 | 0.06 | 0 | 10.52 | 260467 | 184 | 134933 | 0 | 2044245 | 306 | 2 | 0 | 30 | 68 | 195 | 2866 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0.9 | 1297 |  | 2383 |  | 1633114 | 1633114 | 15
4/27/2025 | 34.5 | 41.9 | 24.1 | 0 | 0 | 17.3 | 10.6 | 9.5 | 5 | 9600 | 0 | 3.69 | 0.15 | 1713039 | 4091 | 4226 | 4172 | 3707 | 8.8 | 8.8 | 0.2 | 0.23 | 267414 | 8 | 8 | 8 | 7 | 6 | 6 | 5 | 4 | 12.76 | 2 | 19.3 | 9 | 228808 | 65900 | 153.06 |  | 0 | 267 | 54.6 | 37613 | 520 | 46439334 |  | 10603201 |  | 0 | 4.16 | 0 | 0 | 11.13 | 260680 | 213 | 134937 | 4 | 2044816 | 571 | 2 | 0 | 33 | 79 | 217 | 3171 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 940 |  | 2112 |  | 1713039 | 1713039 | 15
4/28/2025 | 30.3 | 36 | 17.7 | 0 | 0 | 16.8 | 7.5 | 9.4 | 4.7 | 8300 | 0 | 5.48 | 0.25 | 1718060 | 4012 | 4789 | 5310 | 4695 | 8.2 | 8.2 | 0.2 | 0.24 | 266607 | 7 | 7 | 5 | 6 | 5 | 4 | 3 | 4 | 13.74 | 1.62 | 24.2 | 10 | 147990 | 65937 | 173.4 |  | 0 | 267 | 50.4 | 37625 | 480 | 46439334 |  | 10603201 |  | 6.08 | 4.89 | 1.46 | 0 | 4.74 | 266607 | 231 | 134937 | 0 | 2045551 | 735 | 2 | 0 | 26 | 58 | 162 | 2762 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1284 |  | 2307 |  | 1718060 | 1718060 | 15
4/29/2025 | 30 | 37 | 17.1 | 0 | 0 | 16.7 | 7.5 | 9.5 | 4.6 | 5200 | 0.22 | 6.37 | 0.22 | 1720285 | 3699 | 4811 | 5413 | 4765 | 8.3 | 8.2 | 0.2 | 0.24 | 242905 | 7 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 17.96 | 1.67 | 24.5 | 10 | 147222 | 67384 | 175.68 |  | 0 | 267 | 50.4 | 37637 | 480 | 46439334 |  | 10603201 |  | 10.58 | 0.23 | 1.69 | 0 | 5.88 | 261136 | 225 | 134937 | 5 | 2046091 | 540 | 2 | 0 | 25 | 57 | 159 | 2861 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1275 |  | 2156 |  | 1720285 | 1720285 | 15
4/30/2025 | 30 | 35.2 | 16.8 | 0 | 0 | 16.4 | 7.4 | 9.4 | 4.5 | 5600 | 0 | 5.91 | 0.25 | 1417027 | 3566 | 4488 | 4884 | 4502 | 8.1 | 8.1 | 0.16 | 0.19 | 177739 | 7 | 7 | 6 | 7 | 6 | 6 | 5 | 6 | 17.74 | 1.4 | 21.8 | 8 | 115306 | 69335 | 184.09 |  | 0 | 267 | 50.4 | 37649 | 480 | 46439334 |  | 10603201 |  | 9.42 | 0 | 4.66 | 0 | 2.95 | 261345 | 209 | 134938 | 1 | 2046555 | 464 | 2 | 0 | 26 | 60 | 164 | 2849 | 0 | 77.4 | 77.2 | 1989.1 | 1877.3 |  | 0 | 1219 |  | 2300 |  | 1417027 | 1417027 | 15
Sum | 988.0 | 1,437.30 | 592.70 | 7.330 | 7.05 | 428.3000 | 253.80 | 303.40 | 146.1000 | 236,700 | 0 | 126.15 | 5.43 | 51,146,221 | 116,172 | 143,642 | 147,658 | 135,929 | 248.1 | 247.7 | 5.08 | 6.92 | 6,445,018 | 222.0 | 222.0 | 248.0 | 245.0 | 153.0 | 125.0 | 177.0 | 181.0 | 525.70 | 43.2 | 637.1 | 239.0 | 4,406,116 | 1,956,436 | 5,360.83 |  | 0.0 |  | 1,554.0 |  | 14,800 | 1,390,885,044.0 |  |  |  | 225.79 | 70.25 | 42.37 | 0.00 | 189.86 |  | 7,422 | 4,047,772 | 29 | 61,158,898 | 17,319 | 60.00 | 0 | 1,132 | 2,439 | 7,285 | 127,156 | 0.0 | 2,316.0 | 2,233.4 | 59,619.0 | 56,264.0 |  | 1.300 | 37,420 |  | 67,196 |  | 51,146,221.0 | 51,146,221.0 | 450
Avg | 32.9 | 47.91 | 19.76 | 0.244 | 0.24 | 14.2767 | 8.46 | 10.11 | 4.8700 | 7,890 | 0 | 4.21 | 0.18 | 1,704,874 | 3,872 | 4,788 | 4,922 | 4,531 | 8.3 | 8.3 | 0.17 | 0.23 | 214,834 | 7.4 | 7.4 | 8.3 | 8.2 | 5.1 | 4.2 | 5.9 | 6.0 | 17.52 | 1.4 | 21.2 | 8.0 | 146,871 | 65,215 | 178.69 |  | 0.0 |  | 51.8 |  | 493 |  |  | 10,592,016.2 |  | 7.53 | 2.34 | 1.41 | 0.00 | 6.33 |  |  | 134,926 |  | 2,038,630 |  | 2.00 | 0 | 38 | 81 | 243 | 4,239 | 0.0 | 77.2 | 77.0 | 1,987.3 | 1,875.5 |  | 0.043 | 1,247 |  | 2,240 |  | 1,704,874.0 | 1,704,874.0 | 15
Max | 45.2 | 119.50 | 31.70 | 5.300 | 4.14 | 17.3000 | 13.30 | 15.30 | 5.5000 | 22,000 | 0 | 7.24 | 0.37 | 1,727,145 | 4,713 | 5,624 | 5,823 | 5,175 | 9.4 | 9.3 | 0.20 | 0.24 | 296,519 | 12.0 | 13.0 | 12.0 | 13.0 | 8.0 | 7.0 | 12.0 | 12.0 | 24.99 | 2.3 | 24.7 | 11.0 | 228,808 | 83,242 | 209.15 |  | 0.0 | 267 | 58.8 | 37,649 | 560 | 48,170,898.0 |  | 10,603,201.0 |  | 11.40 | 6.92 | 6.51 | 0.00 | 12.91 | 266,607 | 296 | 134,938 | 5 | 2,046,555 | 1,391 | 2.00 | 0 | 53 | 112 | 350 | 6,045 | 0.0 | 77.4 | 77.2 | 1,989.1 | 1,877.3 |  | 0.900 | 1,378 |  | 2,509 |  | 1,727,145.0 | 1,727,145.0 | 15
Min | 29.3 | 34.70 | 16.10 | 0.000 | 0.00 | 10.1000 | 7.10 | 9.10 | 4.4000 | 0 | 0 | 2.18 | 0.00 | 1,417,027 | 3,161 | 3,898 | 3,736 | 3,466 | 7.5 | 7.4 | 0.15 | 0.19 | 150,207 | 5.0 | 5.0 | 5.0 | 6.0 | 3.0 | 2.0 | 3.0 | 4.0 | 12.76 | 0.3 | 18.0 | 4.0 | 115,306 | 49,909 | 153.06 |  | 0.0 | 267 | 46.2 | 37,291 | 440 | 46,170,898.0 |  | 10,536,092.0 |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 254,197 | 184 | 134,915 | 0 | 2,030,317 | 284 | 2.00 | 0 | 25 | 53 | 149 | 2,741 | 0.0 | 76.8 | 76.6 | 1,983.7 | 1,871.8 |  | 0.000 | 940 |  | 1,955 |  | 1,417,027.0 | 1,417,027.0 | 15
Count | 30
Formula | [40 empty] | 0 |  | 358 |  | 2,000,000.0 |  | 67,109.0 | [6 empty] | 12,410 | 27 |  | 1 |  | 11